Batch/Continuous Effluent Decontamination System scope questionnaire

Completing this form will allow us to recommend EDS equipment type and specifications.

What type of waste is being treated? What BSL Level is applicable?

What volume of liquid requires processing per day and how will this be delivered to the EDS plant?

Does the liquid contain any solids or chemicals? This determines the EDS plant type.

State presence of chloride in the effluent: None Yes – Concentration:

Give the size and description of largest solids expected in liquid.

Estimated % of solids and other solids characteristics.

Can the plant run 24 hours a day? Yes No (tick box)

Constant flow rate Variable flow Waste load profile included

State the maximum flow rate (Litres/min.)

Is storage required for high flow periods (of the day)?

Treatment parameters:

List known microbiological agent(s): Treatment time in minutes/seconds: What temperature will the system operate at? e.g. 121°C, 134°C, 140°C? State maximum outlet discharge temperature:

What cooling is available? Cold water / flow return?

Cooling requirements (if applicable):

Source: Potable water Chilled water Characteristics of cooling source: Temperature Pressure

I would like more help in choosing a cooling system

Is steam available or is a steam generator required? If electrical please state power available.

Are there any special requirements of the tanks and pipework, e.g. 304/316 steel or another material?

How will the system be sited? (underground for gravity feed or ground level and tank feed)

Are there any site drawings available? Included

Are there any access issues?

Installation will be performed by whom? Astell / customer

Record any other important data or considerations here:

Please return this form to our Sales & General Enquiries team including your contact details and any other relevant information:

E: sales(at)astellbio.com			T: +44 (0)20 8309 2031

Your contact details

Name:

Email:

Telephone:

Company: